## Table 1 (2)
REQUEST FOR INSPECTION(RFI)
Name of the Project: | LH-10, Lanco Hills,Manikonda, Hyderabad
Name of the work:
From: | BCIM ENGINEERING PVT.LTD. | RFI / Pourcard no:
to: | Lanco Hills Contractors Pvt Ltd. | Date:
Atten: | Project Manager | Site : LH-10,Lanco Hills
We are requesting for WaterProofing :
Date : | Time :
BCIM Site Engineer | BCIM QC Engineer PMC Engineer | Client Engineer
We are requesting for WaterProofing :
Date : | Time :
BCIM Site Engineer | BCIM QC Engineer PMC Engineer | Client Engineer
Ref Doc:
Remarks / Comments:
For Client: (Name & Signature)
Date :

## Table 1
Lanco Hills Contractors Pvt Ltd.
Check List for Water proofing (Terrace&Podium) |  |  |  | Doc No :LHRP /QA& QC / WPS /09 / R0 / 001
Name of The Project : LH-10, Lanco Hills,Manikonda, Hyderabad |  |  |  | Check List No :
Location :Lanco Hills,Manikonda, Hyderabad |  |  |  | Date of Opening :
Sl No | Points to be Checked |  | Inspections |  |  |  | Remarks
|  |  | Inspection 1 |  | Inspection 2
|  |  | Date and time |  | Date and time
|  |  | Y/N | Action Proposed | Y/N | Status of Compliance
A. Pre Checks
1 | Is Approved drawings & Methodology available?
2 | Check for approved drawing/plan showing sequence of waterproofing?
3 | Required Quantity of material should be available.
4 | Required tools should be available for executing this activity.
5 | Surface should be free from dust, cement mortar, debris or other foreign material.
6 | Check for the material to be used is with in its shelf-life.
7 | Check for Manufacturer / Third Party Test Report.
8 | Has the required safety measures taken. (Goggles , Gloves, Gum Shoe etc.,)
9 | Check of other allied MEP & RCC- Civil works completed, exposed rod cutting and unwanted materials are removed from the work location & Check for weather the drain pipes are kept in mother slab?
B. Preparation Works
10 | Check for Bore Packing : Filling the gap between the pipes with Non-Shrink self compacting high strength cementitious flow fill grout /Fosroc Renderoc CS Polymer modified cementitious repair mortar for cracks / joints
11 | Joints & Cracks should be treated by cutting 'U' Groove(10mm×10mm) and filled with non-shrink self-compacting high strength cementitious Fosroc Renderoc CS cementitious repair mortar for cracks / joints
C. Pre Ponding test
12 | Initial Ponding test should be done for 24 hrs to find if any leakages/dampness? | [5 empty] | Start date: End date:
13 | If any leakages observed, fix PVC nozzles to the required depth of concrete slab @300mm centre to centre and grout the cement slurry admixed with Cebex 100 @225 gms /bag of cement.
14 | Once the grout complete cut the nozzles and seal the holes with Fosroc Renderoc CS and bring it smooth finish.
15 | Ensure the effectiveness of grouting by ponding the water for 24 hours with a depth of 50mm.
Approval For Starting Execution
Approved Approved subjected to listed rectification Not approved ( see Remarks)
Contractor Engineer( Sign&Name) |  | Contractor QC Engineer (Sign&Name) | PMC Engineer ( Sign & Name ) |  |  | Client Engineer ( Sign & Name )
D. During Waterproofing
16 | Primer Application : Apply PU Based Water proofing primer "Fosroc Nitoproof WB" primer shall be applied in one coat on Slab and extend to the full height of parapetwall with coverage of 100 ml per sqmt.
17 | Check for PU based waterproofing system Fosroc brushbond roofguard Premium applied on Primer coat Coverage of 0.5 ltrs/sqm per coat WFT 0.5mm (20 sqm per 20 lit pail for 2 coats and extend to the full height of parapetwall by spraying or Roller. Alow to dry 1-5 hrs
18 | Apply 2nd Coat brushbond roofguard Premium cross directon to the first coat total coverage of WFT 1mm is achieved
E.POST EXECUTION CHECKS
19 | Post Ponding test should be done for 72 hrs on applied of water proofing coat. | [5 empty] | Start date: End date:
20 | Curing to be done atleast for 7 Days
Remarks if Any
Final Approval
Approved Approved subjected to listed rectification Not approved ( see Remarks)
Contractors Engineer(Sign&Name) |  | Contractor QC Engineer ( Sign & Name ) | PMC Engineer( Sign & Name ) |  |  | Client Engineer ( Sign & Name )